## Slide 1: Corrective Action Response Guidelines For TCEQ Accredited Laboratories
J. Steven Gibson, Ph.D.
Senior Technical Auditor
Laboratory Accreditation Work Group
Texas Commission on Environmental Quality (TCEQ)

## Slide 2: Corrective Action Response Process
Based on the increase in repeat deficiencies from laboratories, the TCEQ’s Laboratory Accreditation Program review process for evaluating laboratories’ corrective action responses (CARs) to accreditation assessments was revised.
In December 2015, the revised review process was implemented by the TCEQ in an attempt to lessen future repeat deficiencies from laboratories.
Sixty-four (64) out of seventy (70) laboratories have been issued non-concurrence letters based on unacceptable initial corrective action responses.

## Slide 3: Corrective Action
Corrective action as defined by the TCEQ’s Laboratory Accreditation Procedure (LAP) 1.1:
“An action taken to address the effect(s) of a nonconformity, defect, or other undesirable situation (e.g., repair, rework); eliminate the causes of the nonconformity, defect, or other undesirable situation; and prevent recurrence.”

## Slide 4: Corrective Action Response Guidelines
Before effectively addressing any finding, you must first understand what the finding is and correctly identify the root cause.
Corrective action(s) must address the issue in all areas of the laboratory and for all applicable staff.

## Slide 5: Corrective Action Response Form
The TCEQ has revised the corrective action response form, which is attached to assessment reports.
The form has four main sections:
  Corrective Actions to Address the Deficiency
  Actions to Prevent Recurrence of the Deficiency
  Client Notification
  Verification of Effectiveness
For each section, the laboratory must provide the action(s), the timetable(s), and the means to document.

## Slide 6: Corrective Action Response Guidelines
Use of the form is not mandatory.
All the information requested on the form is needed to evaluate the laboratory’s corrective action response regardless of the format.

## Slide 7: Corrective Action Response Form

## Slide 8: Guidance for Corrective Action Response Form

## Slide 9: Guidance for Corrective Action Response Form

## Slide 10: Guidance for Corrective Action Response Form

## Slide 11: Guidance for Corrective Action Response Form

## Slide 12: Guidance for Corrective Action Response Form

## Slide 13: An unacceptable response that would result in a non-concurrence letter
Example 1
Corrective action did not state the sensor in the conductivity meter had been verified at temperatures bracketing the range of use and when the validation occurred.

## Slide 14: An acceptable corrective action response
Example 1

## Slide 15: An unacceptable response that would result in a non-concurrence letter
The timetable for training staff on the SOP is not specified.
The means to document action(s) did not include:
records showing the verification of the temperature sensor bracketing the range of use, and
(2) training records.
Actions to prevent recurrence also did not include the frequency for validating the sensor or training staff on the revised SOP.
Example 1

## Slide 16: An acceptable corrective action response
Example 1
Example 1

## Slide 17: An acceptable corrective action response
Example 1

## Slide 18: An unacceptable response that would result in a non-concurrence letter
Example 2
The response did not address the laboratory’s website.

## Slide 19: An acceptable corrective action response
Example 2

## Slide 20: An unacceptable response that would result in a non-concurrence letter
Example 2
Means to document did not include internal audit records as stated in the action to prevent recurrence.

## Slide 21: An acceptable corrective action response
Example 2

## Slide 22: An acceptable corrective action response
Example 2

## Slide 23
An unacceptable response that would result in a non-concurrence letter
Example 3

## Slide 24
An unacceptable response that would result in a non-concurrence letter
Example 3

## Slide 25
An unacceptable response that would result in a non-concurrence letter
Example 3
Client results were affected by laboratory practice not following method, thus requiring client notification.

## Slide 26: An acceptable corrective action response
Example 3

## Slide 27
Example 3
An unacceptable response that would result in a non-concurrence letter
Verification needs to include the implementation of SOP changes into practice, as well as other actions such as bench sheet review.

## Slide 28: An acceptable corrective action response
Example 3

## Slide 29: In Summary
Each Corrective Action Response must include:
  Corrective Action(s) to Address the Deficiency
  Action(s) to Prevent Recurrence of the Deficiency
  Client Notification
  Verification of Effectiveness

## Slide 30: For more information:
TCEQ Laboratory Accreditation website
https://www.tceq.texas.gov/agency/qa/env_lab_accreditation.html
The website includes:
  Revised Corrective Action Form
  TCEQ Guidance on Corrective Action Review
  Frequently Asked Questions

## Slide 31: Questions?
Dr. J. Steven Gibson
Laboratory Accreditation Work Group
Steve.Gibson@tceq.texas.gov