# Contributing Zone Plan Application

**Texas Commission on Environmental Quality**

for Regulated Activities on the Contributing Zone to the Edwards Aquifer and Relating to 30 TAC §213.24(1), Effective June 1, 1999

To ensure that the application is administratively complete, confirm that all fields in the form are complete, verify that all requested information is provided, consistently reference the same site and contact person in all forms in the application, and ensure forms are signed by the appropriate party.

Note: Including all the information requested in the form and attachments contributes to more streamlined technical reviews.

## ***Signature***

To the best of my knowledge, the responses to this form accurately reflect all information requested concerning the proposed regulated activities and methods to protect the Edwards Aquifer. This **Contributing Zone Plan Application** is hereby submitted for TCEQ review and Executive Director approval. The application was prepared by:

Print Name of Customer/Agent:

Date:

Signature of Customer/Agent:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Regulated Entity Name**:

## Project Information

1. County:
2. Stream Basin:
3. Groundwater Conservation District (if applicable):
4. Customer (Applicant):

Contact Person:

Entity:

Mailing Address:

City, State:

Zip:

Telephone:

Fax:

Email Address:

1. Agent/Representative (If any):

Contact Person:

Entity:

Mailing Address:

City, State:

Zip:

Telephone:

Fax:

Email Address:

1. Project Location:

The project site is located inside the city limits of      .

The project site is located outside the city limits but inside the ETJ (extra-territorial jurisdiction) of      .

The project site is not located within any city’s limits or ETJ.

1. The location of the project site is described below. Sufficient detail and clarity has been provided so that the TCEQ’s Regional staff can easily locate the project and site boundaries for a field investigation.

1. **Attachment A - Road Map**. A road map showing directions to and the location of the project site is attached. The map clearly shows the boundary of the project site.
2. **Attachment B - USGS Quadrangle Map**. A copy of the official 7 ½ minute USGS Quadrangle Map (Scale: 1" = 2000') is attached. The map(s) clearly show:

Project site boundaries.

USGS Quadrangle Name(s).

1. **Attachment C - Project Narrative**. A detailed narrative description of the proposed project is attached. The project description is consistent throughout the application and contains, at a minimum, the following details:

Area of the site

Offsite areas

Impervious cover

Permanent BMP(s)

Proposed site use

Site history

Previous development

Area(s) to be demolished

1. Existing project site conditions are noted below:

Existing commercial site

Existing industrial site

Existing residential site

Existing paved and/or unpaved roads

Undeveloped (Cleared)

Undeveloped (Undisturbed/Not cleared)

Other:

1. The type of project is:

Residential: # of Lots:

Residential: # of Living Unit Equivalents:

Commercial

Industrial

Other:

1. Total project area (size of site):       Acres

Total disturbed area:       Acres

1. Estimated projected population:
2. The amount and type of impervious cover expected after construction is complete is shown below:

Table 1 - Impervious Cover

| Impervious Cover of Proposed Project | Sq. Ft. | Sq. Ft./Acre | Acres |
| --- | --- | --- | --- |
| Structures/Rooftops |  | ÷ 43,560 = |  |
| Parking |  | ÷ 43,560 = |  |
| Other paved surfaces |  | ÷ 43,560 = |  |
| Total Impervious Cover |  | ÷ 43,560 = |  |

**Total Impervious Cover**       **÷ Total Acreage**       **X 100 =**      **% Impervious Cover**

1. **Attachment D - Factors Affecting Surface Water Quality**. A detailed description of all factors that could affect surface water quality is attached. If applicable, this includes the location and description of any discharge associated with industrial activity other than construction.
2. Only inert materials as defined by 30 TAC 330.2 will be used as fill material.

## For Road Projects Only

Complete questions 18 - 23 if this application is exclusively for a road project.

N/A

1. Type of project:

TXDOT road project.

County road or roads built to county specifications.

City thoroughfare or roads to be dedicated to a municipality.

Street or road providing access to private driveways.

1. Type of pavement or road surface to be used:

Concrete

Asphaltic concrete pavement

Other:

1. Right of Way (R.O.W.):

Length of R.O.W.:       feet.

Width of R.O.W.:       feet.

L x W =      Ft² ÷ 43,560 Ft²/Acre =       acres.

1. Pavement Area:

Length of pavement area:       feet.

Width of pavement area:       feet.

L x W =      Ft² ÷ 43,560 Ft²/Acre =       acres.

Pavement area       acres ÷ R.O.W. area       acres x 100 =      % impervious cover.

1. A rest stop will be included in this project.

A rest stop will not be included in this project.

1. Maintenance and repair of existing roadways that do not require approval from the TCEQ Executive Director. Modifications to existing roadways such as widening roads/adding shoulders totaling more than one-half (1/2) the width of one (1) existing lane require prior approval from the TCEQ.

## ****Stormwater to be generated by the Proposed Project****

1. **Attachment E - Volume and Character of Stormwater**. A detailed description of the volume (quantity) and character (quality) of the stormwater runoff which is expected to occur from the proposed project is attached. The estimates of stormwater runoff quality and quantity are based on area and type of impervious cover. Include the runoff coefficient of the site for both pre-construction and post-construction conditions.

## Wastewater to be generated by the Proposed Project

1. Wastewater is to be discharged in the contributing zone. Requirements under 30 TAC §213.6(c) relating to Wastewater Treatment and Disposal Systems have been satisfied.

N/A

1. Wastewater will be disposed of by:

On-Site Sewage Facility (OSSF/Septic Tank):

**Attachment F - Suitability Letter from Authorized Agent**. An on-site sewage facility will be used to treat and dispose of the wastewater from this site. The appropriate licensing authority's (authorized agent) written approval is attached. It states that the land is suitable for the use of private sewage facilities and will meet or exceed the requirements for on-site sewage facilities as specified under 30 TAC Chapter 285 relating to On-site Sewage Facilities.

Each lot in this project/development is at least one (1) acre (43,560 square feet) in size. The system will be designed by a licensed professional engineer or registered sanitarian and installed by a licensed installer in compliance with 30 TAC Chapter 285.

Sewage Collection System (Sewer Lines):

The sewage collection system will convey the wastewater to the       (name) Treatment Plant. The treatment facility is:

Existing.

Proposed.

N/A

## Permanent Aboveground Storage Tanks(ASTs) ≥ 500 Gallons

Complete questions 27 - 33 if this project includes the installation of AST(s) with volume(s) greater than or equal to 500 gallons.

N/A

1. Tanks and substance stored:

Table 2 - Tanks and Substance Storage

| AST Number | Size (Gallons) | Substance to be Stored | Tank Material |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

**Total x 1.5 =**       **Gallons**

1. The AST will be placed within a containment structure that is sized to capture one and one-half (1 1/2) times the storage capacity of the system. For facilities with more than one tank system, the containment structure is sized to capture one and one-half (1 1/2) times the cumulative storage capacity of all systems.

**Attachment G - Alternative Secondary Containment Methods**. Alternative methods for providing secondary containment are proposed. Specifications showing equivalent protection for the Edwards Aquifer are attached.

1. Inside dimensions and capacity of containment structure(s):

Table 3 - Secondary Containment

| Length (L)(Ft.) | Width(W)(Ft.) | Height (H)(Ft.) | L x W x H = (Ft3) | Gallons |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Total:**       **Gallons**

1. Piping:

All piping, hoses, and dispensers will be located inside the containment structure.

Some of the piping to dispensers or equipment will extend outside the containment structure.

The piping will be aboveground

The piping will be underground

1. The containment area must be constructed of and in a material impervious to the substance(s) being stored. The proposed containment structure will be constructed of:      .
2. **Attachment H - AST Containment Structure Drawings**. A scaled drawing of the containment structure is attached that shows the following:

Interior dimensions (length, width, depth and wall and floor thickness).

Internal drainage to a point convenient for the collection of any spillage.

Tanks clearly labeled

Piping clearly labeled

Dispenser clearly labeled

1. Any spills must be directed to a point convenient for collection and recovery. Spills from storage tank facilities must be removed from the controlled drainage area for disposal within 24 hours of the spill.

In the event of a spill, any spillage will be removed from the containment structure within 24 hours of the spill and disposed of properly.

In the event of a spill, any spillage will be drained from the containment structure through a drain and valve within 24 hours of the spill and disposed of properly. The drain and valve system are shown in detail on the scaled drawing.

## Site Plan Requirements

Items 34 - 46 must be included on the Site Plan.

1. The Site Plan must have a minimum scale of 1" = 400'.

Site Plan Scale: 1" =      '.

1. 100-year floodplain boundaries:

Some part(s) of the project site is located within the 100-year floodplain. The floodplain is shown and labeled.

No part of the project site is located within the 100-year floodplain.

The 100-year floodplain boundaries are based on the following specific (including date of material) sources(s):      .

1. The layout of the development is shown with existing and finished contours at appropriate, but not greater than ten-foot contour intervals. Lots, recreation centers, buildings, roads, etc. are shown on the site plan.

The layout of the development is shown with existing contours at appropriate, but not greater than ten-foot contour intervals. Finished topographic contours will not differ from the existing topographic configuration and are not shown. Lots, recreation centers, buildings, roads, etc. are shown on the site plan.

1. A drainage plan showing all paths of drainage from the site to surface streams.
2. The drainage patterns and approximate slopes anticipated after major grading activities.
3. Areas of soil disturbance and areas which will not be disturbed.
4. Locations of major structural and nonstructural controls. These are the temporary and permanent best management practices.
5. Locations where soil stabilization practices are expected to occur.
6. Surface waters (including wetlands).

N/A

1. Locations where stormwater discharges to surface water.

There will be no discharges to surface water.

1. Temporary aboveground storage tank facilities.

Temporary aboveground storage tank facilities will not be located on this site.

1. Permanent aboveground storage tank facilities.

Permanent aboveground storage tank facilities will not be located on this site.

1. Legal boundaries of the site are shown.

## Permanent Best Management Practices (BMPs)

Practices and measures that will be used during and after construction is completed.

1. Permanent BMPs and measures must be implemented to control the discharge of pollution from regulated activities after the completion of construction.

N/A

1. These practices and measures have been designed, and will be constructed, operated, and maintained to insure that 80% of the incremental increase in the annual mass loading of total suspended solids (TSS) from the site caused by the regulated activity is removed. These quantities have been calculated in accordance with technical guidance prepared or accepted by the executive director.

The TCEQ Technical Guidance Manual (TGM) was used to design permanent BMPs and measures for this site.

A technical guidance other than the TCEQ TGM was used to design permanent BMPs and measures for this site. The complete citation for the technical guidance that was used is:      .

N/A

1. Owners must insure that permanent BMPs and measures are constructed and function as designed. A Texas Licensed Professional Engineer must certify in writing that the permanent BMPs or measures were constructed as designed. The certification letter must be submitted to the appropriate regional office within 30 days of site completion.

N/A

1. Where a site is used for low density single-family residential development and has 20 % or less impervious cover, other permanent BMPs are not required. This exemption from permanent BMPs must be recorded in the county deed records, with a notice that if the percent impervious cover increases above 20% or land use changes, the exemption for the whole site as described in the property boundaries required by 30 TAC §213.4(g) (relating to Application Processing and Approval), may no longer apply and the property owner must notify the appropriate regional office of these changes.

The site will be used for low density single-family residential development and has 20% or less impervious cover.

The site will be used for low density single-family residential development but has more than 20% impervious cover.

The site will not be used for low density single-family residential development.

1. The executive director may waive the requirement for other permanent BMPs for multi-family residential developments, schools, or small business sites where 20% or less impervious cover is used at the site. This exemption from permanent BMPs must be recorded in the county deed records, with a notice that if the percent impervious cover increases above 20% or land use changes, the exemption for the whole site as described in the property boundaries required by 30 TAC §213.4(g) (relating to Application Processing and Approval), may no longer apply and the property owner must notify the appropriate regional office of these changes.

**Attachment I - 20% or Less Impervious Cover Waiver**. The site will be used for multi-family residential developments, schools, or small business sites and has 20% or less impervious cover. A request to waive the requirements for other permanent BMPs and measures is attached.

The site will be used for multi-family residential developments, schools, or small business sites but has more than 20% impervious cover.

The site will not be used for multi-family residential developments, schools, or small business sites.

1. **Attachment J - BMPs for Upgradient Stormwater**.

A description of the BMPs and measures that will be used to prevent pollution of surface water, groundwater, or stormwater that originates upgradient from the site and flows across the site is attached.

No surface water, groundwater or stormwater originates upgradient from the site and flows across the site, and an explanation is attached.

Permanent BMPs or measures are not required to prevent pollution of surface water, groundwater, or stormwater that originates upgradient from the site and flows across the site, and an explanation is attached.

1. **Attachment K - BMPs for On-site Stormwater**.

A description of the BMPs and measures that will be used to prevent pollution of surface water or groundwater that originates on-site or flows off the site, including pollution caused by contaminated stormwater runoff from the site is attached.

Permanent BMPs or measures are not required to prevent pollution of surface water or groundwater that originates on-site or flows off the site, including pollution caused by contaminated stormwater runoff, and an explanation is attached.

1. **Attachment L - BMPs for Surface Streams**. A description of the BMPs and measures that prevent pollutants from entering surface streams is attached.

N/A

1. **Attachment M - Construction Plans**. Construction plans and design calculations for the proposed permanent BMPs and measures have been prepared by or under the direct supervision of a Texas Licensed Professional Engineer, and are signed, sealed, and dated. Construction plans for the proposed permanent BMPs and measures are attached and include: Design calculations, TCEQ Construction Notes, all proposed structural plans and specifications, and appropriate details.

N/A

1. **Attachment N - Inspection, Maintenance, Repair and Retrofit Plan**. A site and BMP specific plan for the inspection, maintenance, repair, and, if necessary, retrofit of the permanent BMPs and measures is attached. The plan fulfills all of the following:

Prepared and certified by the engineer designing the permanent BMPs and measures

Signed by the owner or responsible party

Outlines specific procedures for documenting inspections, maintenance, repairs, and, if necessary, retrofit.

Contains a discussion of record keeping procedures

N/A

1. **Attachment O - Pilot-Scale Field Testing Plan**. Pilot studies for BMPs that are not recognized by the Executive Director require prior approval from the TCEQ. A plan for pilot-scale field testing is attached.

N/A

1. **Attachment P - Measures for Minimizing Surface Stream Contamination**. A description of the measures that will be used to avoid or minimize surface stream contamination and changes in the way in which water enters a stream as a result of the construction and development is attached. The measures address increased stream flashing, the creation of stronger flows and in-stream velocities, and other in-stream effects caused by the regulated activity, which increase erosion that result in water quality degradation.

N/A

## Responsibility for Maintenance of Permanent BMPs and Measures after Construction is Complete.

1. The applicant is responsible for maintaining the permanent BMPs after construction until such time as the maintenance obligation is either assumed in writing by another entity having ownership or control of the property (such as without limitation, an owner’s association, a new property owner or lessee, a district, or municipality) or the ownership of the property is transferred to the entity. Such entity shall then be responsible for maintenance until another entity assumes such obligations in writing or ownership is transferred.
2. A copy of the transfer of responsibility must be filed with the executive director at the appropriate regional office within 30 days of the transfer if the site is for use as a multiple single-family residential development, a multi-family residential development, or a non-residential development such as commercial, industrial, institutional, schools, and other sites where regulated activities occur.

## ****Administrative Information****

1. Submit one (1) original and one (1) copy of the application, plus additional copies as needed for each affected incorporated city, groundwater conservation district, and county in which the project will be located. The TCEQ will distribute the additional copies to these jurisdictions.
2. Any modification of this Contributing Zone Plan may require TCEQ review and Executive Director approval prior to construction, and may require submission of a revised application, with appropriate fees.
3. The site description, controls, maintenance, and inspection requirements for the storm water pollution prevention plan (SWPPP) developed under the EPA NPDES general permits for stormwater discharges have been submitted to fulfill paragraphs 30 TAC §213.24(1-5) of the technical report. All requirements of 30 TAC §213.24(1-5) have been met by the SWPPP document.

The Temporary Stormwater Section (TCEQ-0602) is included with the application.